## Sheet1
Annex A:BoQ
Incubation facility with solar mini grid
Incubation facility
| Sn | Item | Unit | Qty | Unit cost-RwF | Total cost-RwF
| 1 | Solar panel with 600W each | Pcs | 25
| 2 | Hybrid Inverter with controller capacity of 12kw | Pcs | 1
| 3 | Lithium iron batterry with capacity ESS Baterry module, 51.52v , 128Ah, 10KWh | Pcs | 5
| 4 | Accessories for installation from the roof top: cables circuit breakers, electrical cables in the house, frames for the solar pannels, etc | Ls | 1
| 5 | Installation labour | Ls | 1